LC-MS/MS analysis of the Geneva phenotyping cocktail in whole blood using microsampling
Machel Leuschner1, Kim Sheva2, A Duncan Cromarty1. Department of Pharmacology, Faculty of Health Sciences, University of Pretoria, Pretoria, South Africa1; The Legacy Heritage Oncology Center & Dr Larry Norton Institute, Soroka University Medical Center, Be’er Sheva, Israel.2 
Introduction. Poor therapeutic outcomes have been attributed to inter-individual and interethnic variability in cytochrome P450 (CYP450)-dependent metabolism and altered drug retention associated with P-glycoprotein (P-gp). An individualised pharmacotherapeutic approach would benefit South-Africans considering the country’s large genetic diversity. 
Aims. The study aim was to develop a validated, targeted, analytical method to quantify the seven probe drugs and their metabolites in dried blood spots (DBS) when using the Mitra™ volumetric absorptive micro-sampling device for blood collection. 
Methods. An Agilent liquid chromatography (LC) system coupled to a Sciex 4000 QTRAP tandem mass spectrometer (MS) was used for method optimisation and validation. Targeted LC-MS/MS methods, were validated according to ICH guidelines. Agreement between the in vitro quantitative measurements in DBS and conventional plasma sampling was assessed. 
Results. The validated LC-MS/MS method met the required bioanalytical standards for specificity, sensitivity, linearity, accuracy, precision, carry-over and stability. In vitro assessment of agreement between DBS and plasma sampling showed deviations > 20 % (measured against predicted plasma concentration). These findings were related to the blood-to-plasma concentration ratio, the physicochemical properties and stability of the analytes as well as the extraction efficiency from the Mitra ™ sampler.
Discussion. This study successfully validated the use of DBS, collected with the Mitra™ microsampling device, to measure expected probe drug and metabolite concentrations using the “Geneva phenotyping cocktail” for the purpose of simultaneous phenotyping of the in vivo CYP450 metabolic activity of the CYP1A2, -2B6, -2C9, -2C19, -2D6 and -3A4 enzymes and P-gp transport activity, although agreement between the two matrixes was not straightforward.
