Automated oxygen titration in non-invasive respiratory support therapy: an RCT

Louis Kirton1,2, Allie Eathorne1, Julie Cook1, Mark Weatherall3, Richard Beasley1,2

1Medical Research Institute of New Zealand, Wellington, New Zealand 2Victoria University, Wellington, New Zealand 3University of Otago, Wellington, New Zealand

Introduction/Aim: When oxygen titration systems are used with nasal high flow (NHF) oxygen delivery; automated titration improves time spent in a target SpO2 range compared to standard, manually adjusted, titration. It is not known if this improvement is also seen when continuous positive airway pressure (CPAP) or bi-level positive airway pressure (bi-level) are used. Method: This open-label randomised controlled trial in hospitalised participants requiring one or more of: NHF, CPAP, or bi-level; compared automated to manual oxygen titration. The primary outcome was the proportion of time spent within a target SpO2 range; generally 92 to 96%, or if at risk of hypercapnia, 88 to 92%; where participants achieved ≥8 hours of therapy. The analysis included exploration of whether the difference between automated and manual titration differed by oxygen delivery modality. Results: Of 69 randomised participants: 62 had data for the primary endpoint, 59 started on NHF; 4 on CPAP; and 6 on bi-level. Median (interquartile range) proportion of time spent within the target SpO2 range with automated oxygen (n=32) was 91.4% (84.3 to 97.5) compared with 75.9% (64.0 to 87.8) with manually adjusted oxygen (n=30); difference (95%CI) 13.9 % (6.2 to 21.2), P<.001. For automated control the mean proportion of time in SpO2 range for NHF, CPAP and bi-level respectively, were: 89%, 88% and 91%; and for manually titrated oxygen: 75%, 79%, and 80%. The difference between automated and manual titration did not depend on delivery modality, P-interaction 0.94. Conclusion: Automated oxygen titration increased time spent within a target SpO2 range, compared to manual oxygen titration, in medical inpatients requiring oxygen therapy. The difference was seen in all delivery modalities: NHF, CPAP and bi-level therapies and there is no evidence that the difference was itself different depending on the oxygen delivery modality. Grant Support: Fisher and Paykel Healthcare provided a research grant that helped fund this study. Key Words: Automated oxygen, closed loop oxygen control, nasal high flow, non-invasive ventilation Word count: 292/300 (abstract only)