Pulsed electric field induced duodenal re-cellularization impact on insulin sensitivity and beta cell function: Results from REGENT-1, an open-label, prospective study in Type 2 diabetes

Introduction/Objective: Type 2 diabetes (T2D) is marked by impaired beta-cell function and insulin resistance. Duodenopathy disrupts glucose regulation, presenting a novel therapeutic target. The Re-Cellularization via Electroporation Therapy (ReCET™) System uses non-thermal pulsed electric field (PEF) to regenerate duodenal mucosa and submucosa. The REGENT-1 study modelled MMTT data to assess the metabolic effects of ReCET™ on insulin sensitivity (SI), beta-cell function and disposition index (DI).

Methods: REGENT-1 is a multi-center, open-label study of endoscopic PEF therapy at three doses in T2D adults on 1-4 non-insulin agents. Group 1) Gen 1 catheter 600V, single tx (n=12); Group 2) Gen 1 catheter, 600V, double tx (n=18); and Group 3) Gen 2 catheter (increased treated surface area), double tx 750V (n=21). Mixed Meal Tolerance Tests (MMTT) assessed β-cell function (Φtot), SI, and disposition index (DI).

Results: Fifty-one participants (mean age 52.9 years, BMI 31.4 kg/m², HbA1c 8.7%) underwent PEF therapy. Significant improvements in Φtot, SI, and DI were observed at 12 weeks, with further gains by 48 weeks (both p<0.05). High-energy treatment showed the greatest DI improvement, with outcomes comparable to Roux-en-Y gastric bypass.

Conclusions: ReCET™ significantly improved SI and DI, with sustained benefits up to 48 weeks. High-energy treatment yielded optimal results. These findings highlight duodenal regeneration as a promising therapeutic target for T2D management.

Table 1. REGENT-1 Changes in Efficacy Outcomes at 12 and 48 weeks after ReCET

|  | Baseline Value | Week 12 |  |  |  | Week 48 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | All Subjects | All Subjects N=51 | Gen1 600V Single (Grp 1) N=12 | Gen1 Double (Grp 2) N=18 | Gen2 750V Double (Grp 3) N=21 | All Subjects N=48 | Gen1 600V Single (Grp 1) N=12 | Gen1 Double (Grp 2) N=16 | Gen2 750V Double (Grp 3) N=19 |
| ∆HbA1c (%) | 8.7 ±0.93 | -1.04 ±0.91 | -0.44 ±0.59 | -1.04 ±0.80 | -1.40 ±1.19 | -1.02 ±0.61 | 0.03 ±0.69 | -1.00 ±0.67 | -1.70 ±0.52 |
| ∆Body weight (Kg) | 88.09 ±18.47 | -3.56 ±1.14 | -1.14 ±1.40 | -3.82 ±1.12 | -4.74 ±1.03 | -4.07 ±2.45 | -1.16 ±2.93 | -4.09 ±2.4 | -5.90 ±2.2 |
| Fasting glucose (mmol/L) | 9.79 ±2.38 | 8.36 ±2.41 | 9.2 ±2.89 | 8.36 ±2.67 | 7.92 ±1.84 | 7.61 ±1.87 | 8.51 ±1.69 | 7.71 ±2.14 | 7.02 ±1.57 |
| Fasting Insulin (mU/L) | 11.16 ±6.56 | 9.28 ±5.70 | 8.27 ±5.26 | 11.39 ±6.80 | 7.99 ±4.51 | 9.44 ±5.44 | 10.91 ±5.11 | 11.69 ±5.35 | 6.38 ±4.46 |
| Fasting C-Peptide (pmol/L) | 754.2 ±416.8 | 705.3 ±370.0 | 504.1 ±189.0 | 873.8 ±388.3 | 666.2 ±373.7 | 654.4 ±447.9 | 637.6 ±128.0 | 877.7 ±539.4 | 466.2 ±410.1 |
| HOMA-IR (mg/dL mIU/L) | 5.07 ±3.12 | 3.46 ±2.43 | 3.16 ±2.11 | 4.28 ±3.07 | 2.89 ±1.78 | 3.32 ±2.01 | 4.47 ±2.34 | 3.81 ±1.59 | 2.10 ±1.50 |
| Beta Cell function Φtot [10-9 min-1] | 19.08 ±13.08 | 32.41 ±35.06 | 40.3 ±9.43 | 27.5 ±9.68 | 32.23 ±16.6 | 27.19 ±20.41 | 18.0 ±10.9 | 28.0 ±21.6 | 33.03 ±15.9 |
| Sensitivity Index (SI) [pmol/L/min]x10-4 | 3.0 ±3.2 | 12.5 ±27.0 | 9.12 ±12.0 | 3.71 ±2.62 | 22.4 ±7.6 | 48.5 ±13.9 | 6.73 ±1.1 | 10.6 ±3.9 | 12.7 ±7.8 |
| Disposition Index [pmol/L/min 10-9 min-1]x10-3 | 5.32 ±3.26 | 33.6 ±1.8 | 31.5 ±1.1 | 11.8 ±0.7 | 57.0 ±2.3 | 41.0 ±1.4 | 9.8 ±12.5 | 27.0 ±9.0 | 60.0 ±18.7 |