3D Slicer Application for Measuring Metastatic Burden in Lung Cancer

Justin Tan1, Emily Wang2, Barbara Page2, Henry Marshall1,2, Ian Yang1,2, Kwun Fong1,2

1Department of Thoracic Medicine, The Prince Charles Hospital, Chermside, Queensland, Australia 2The University of Queensland Thoracic Research Centre, The Prince Charles Hospital, Chermside, Queensland, Australia

Introduction/Aim: Lung cancer is a leading cause of cancer-related death worldwide. Radiological staging and measurement of tumour burden is central to prognostication and treatment decisions. This process is currently performed manually and represents a source of potential inter- and intra-rater variability. Semi-automated software tools using computer aided detection (CAD) technologies may represent a new avenue for measuring disease burden for cancer staging. 3D Slicer (https://www.slicer.org/) is a freely available, open-source software that provides 3D measurements for imaging detected lesions. This project aims to validate 3D Slicer ability to generate contoured volumetric tumour measurements of non-small cell lung cancer (NSCLC) metastasis in comparison to conventional volumes derived manually from orthogonal measurements. Methods: A single-centre 4-year retrospective observational study of participants was performed. Inclusion criteria were patients with primary NSCLC with known metastatic disease. Patient computed tomography was interrogated utilising a semi-automated CAD algorithm in 3D Slicer (ver:5.4.0) to define the volumetric burden of metastatic lesions. The CAD algorithm combined manual input of tumour location with follow-on automated delineation of tumour contour and volume. These measurements were compared with the volumetric parameters calculated by orthogonal methods. Results: Total of (n=229) cases met inclusion criteria. Of these, a pilot subset of (n=10) were analysed. 3D Slicer was found to be reliable for the generation of volumetric measurements in the majority of cases. However, a minority of cases, greater manual input was required due to similarities between tumour and background radiological characteristics. These included metastasis within areas of collapse/consolidation, metastasis bordered by ground-glass or invading vasculature. The full dataset and comparison to manual measurements will be presented. Conclusion: Semi-automated measurement of NSCLC metastasis appears possible with software tools, though there are limitations due to segmentation errors. Grant Support: Self-funded. Keywords: “3D Slicer”, volumetric, computer-assisted, metastasis, NSCLC.