Observations of Fast H-Mode Pedestal Dynamics with New MSE/CER Dual-Spectrum Diagnostic at DIII-D

R. Albosta1, B. Geiger1, G. McKee1, F. Khabanov1, O. Marchuk2, T. Gallenberger1, B. J. Crowley3

1Department of Engineering Physics, University of Wisconsin-Madison, Madison, Wisconsin 53706, USA

2Forschungszentrum Jülich GmbH-Institut für Energie-und Klimaforschung-Plasmaphysik, Partner of the Trilateral Euregio Cluster (TEC), 52425 Jülich, Germany

3General Atomics, PO Box 85608, San Diego, CA 92186-5608, USA

Two novel single-channel Czerny-Turner spectrometers [1,2] have been deployed at DIII-D for simultaneous and co-located measurements of the spectrally resolved Motional Stark Effect (MSE) Split Deuterium Beam Emission and the Carbon CVI charge exchange emission at high spectral (∆λ=0.13 nm) and temporal resolution (1-5 kHz). High throughput optics (f/#=2.8) allow for good signal-to-noise at high time resolution using fast EM-CCD detectors. Measurements in ITER-similar H-mode plasmas show clear toroidal rotation collapse during ELM crashes, accompanied by Sigma/Pi ratio changes over a similar timescale. At these timescales, non-equilibrium neutral beam excited state populations appear to play a large role in pedestal MSE line ratios, as qualitatively predicted by the NOMAD quantum-collisional codebase. Complex neutral beam physics has also been observed and successfully reproduced with a physics forward model, revealing a continuum of beam energies that further complicate the MSE spectrum. It has been discovered that the relative spectral changes due to varying local density (determined via NOMAD modeling) and those due to the varying magnetic field are separable, allowing for their simultaneous single-channel fitting along with our toroidal rotation measurements. These together present a 3-field ELM-timescale measurement suit within a single diagnostic device, allowing for novel high-speed pedestal studies in H-mode plasmas [3].

[1] Albosta R et al.: Rev. Sci. Instrum. 93, 113546 (2022)

[2] Albosta R et al.: Rev Sci Instrum. 2024

[3] Albosta R: Thesis, University of Wisconsin-Madison (2025)

*Supported by US DOE grants DE-FG02-89ER53296, DE-FG02-08ER54999 and DE-FC02-04ER54698.