Observation of submicron-scale dynamics in laser-driven shocked foams through high sensitivity differential phase contrast and dark field imaging

V. Bouffetier1, A. Laso-Garcia1, M.P. Valdivia2, G. Pérez-Callejo³, A.E. Gleason2 A. Casner⁴, 
P.M. Kozlowski⁵, M.Makita⁶, T. Goudal⁴, W.M. Martin2, C. Parisuaña2 , V. Tikhonchuk⁷, 
D. Blackman⁸, O. Klimo⁹, J. Proska⁹, G. Rigon¹⁰, L. Ceurvorst¹¹, A. Colaitis¹¹, A. Pineau¹¹, 
D. Hodge¹³, R.L. Sandberg¹³, B. Nagler 2, H.J. Lee 2, N. Czapla2 , E. Galtier2 , C. Baehtz1, 
H. Höppner1, E. Brambrink⁶,  M. Tang⁶, M. Ikeya2,  C. Strohm¹², M. Nakatsutsumi⁶, 
M. Mischenko⁶, S. Goede⁶, D. Khagani, U. Zastrau⁶, T.Toncian1

1Helmholtz-Zentrum Dresden-Rossendorf (HZDR), D-01328 Dresden, Germany

²SLAC National Accelerator Laboratory, Menlo Park, California 94025, USA

³Departamento de Física Teórica Atómica y Óptica, Universidad de Valladolid,  Spain

⁴CEA, DAM, DIF, Arpajon, France

⁵Los Alamos National Laboratory, Los Alamos, New Mexico, 87545, USA

⁶European XFEL, D-22869 Schenefeld, Germany
⁷CELIA, University of Bordeaux, CNRS, CEA, Talence, France
⁸Extreme Light Infrastructure ERIC, ELI-Beamlines Facility, Dolní Břežany, Czech Republic

⁹FNSPE, Czech Technical University in Prague, 115 19 Prague, Czech Republic

¹⁰LULI, CNRS, CEA, Ecole Polytechnique,  F-91128 Palaiseau Cedex, France

¹¹Laboratory for Laser Energetics, University of Rochester, Rochester, NY 14623, USA

¹²Deutsches Elektronen-Synchrotron (DESY), Notkestrasse 85, 22607 Hamburg, Germany

¹³Department of Physics and Astronomy, Brigham Young University, Provo, Utah 84602, USA

Corresponding Author Email: v.bouffetier@hzdr.de

With their extreme source brilliance, hard X-ray free electron lasers provide novel capabilities to probe laser-matter interaction [1]. We present here recent developments in hard X-ray grating interferometry [2] to enable differential phase contrast imaging and dark field (scattering) imaging while still preserving the classical absorption radiograph within a single X-ray shot [3]. This new capability to reconstruct images related to three different X-ray interactions enables more refined description of extreme dynamics in laser-driven shock compression experiments [4]. We will showcase in this work increased contrast and sensitivity from X-ray interferometry to quantitatively and qualitatively characterize shocks and Rayleigh-Taylor instabilities in foam shock tubes. Novel analysis methods will be demonstrated on recent datasets acquired at both MEC instrument (LCLS) and HED instrument (EuXFEL) to illustrate how these new capabilities enable to advance our understanding of micro-physics in laser-driven shock experiments.

This work was supported by IFE-STAR issued as SLAC FWP 101126 and FWP100182, DOE National Nuclear Security Administration (NNSA). This work has also been supported by a research grant from the Spanish Ministry of Science and Innovation (No. PID2022-137632OB-I00) and German Federal Ministry of Research, Technology and Space - Project VANLIFE - within Fusion 2040 program.

[1] A. Laso Garcia et al 2026 Plasma Phys. Control. Fusion 68 035027

[2] M.P. Valdivia et al, Rev. Sci. Instrum. 93, 115102 (2022)

[3] V. Bouffetier et al, Rev. Sci. Instrum. 96, 123508 (2025)

[4] C. Parisuana et al, Phys. Plasmas 32, 082707 (2025)

Specify category (Inertial confinement fusion, High-energy-density plasmas)