Nanostructured Electrodes for Consistent Electrochemistry

in Liquid-Phase TEM

Mara Serrapede * a, b, Cecilia Irene Gho b, Katarzyna Bejtka a, b, Marco Fontana a, b, Pietro Zaccagnini a, b, Andrea Lamberti a, b, Fabrizio Candido Pirri a, b, Guy Denuault c and Angelica Chiodoni b

a Politecnico di Torino, Dipartimento di Scienza Applicata e Tecnologia (DISAT), Corso Duca Degli Abruzzi, 24, 10129, Turin, Italy

b Istituto Italiano di Tecnologia, Center for Sustainable Future Technologies, Via Livorno 60, 10144, Turin, Italy

c School of Chemistry, University of Southampton, SO17 1BJ, Southampton, UK

mara.serrapede@polito.it

Electrochemical devices are central to energy conversion, storage, catalysis, and sensing, motivating the development of operando techniques such as electrochemical liquid-phase transmission electron microscopy (EC-LPTEM). However, the miniaturized electrochemical platforms used in EC-LPTEM suffer from severe geometrical constraints that limit the implementation of stable reference and counter electrodes. Conventional reference electrodes cannot be easily miniaturized, and on-chip quasi-reference electrodes often show poor potential stability due to confined volumes, changing electrolyte composition, and beam-induced effects. Counter electrodes, meanwhile, typically have limited electroactive area, leading to high polarization and parasitic reactions that hinder accurate measurements.

Here, we present a robust strategy based on molecular-template-assisted electrodeposition of metallic thin films to nanostructure both reference and counter electrodes. This approach significantly increases electroactive area without altering the electrode footprint, while maintaining compatibility with EC-LPTEM spatial constraints. The nanostructured counter electrode shows dramatically reduced polarization (from >3 V to ~50 mV), and the reference electrode exhibits improved potential stability, enabling clearer and more reliable electrochemical measurements. Overall, this method provides stable electrochemical control in EC-LPTEM and other highly confined environments, paving the way for more reliable operando electrochemistry.

[1] R. M. Wittman, R. L. Sacci, R. R. Unocic and T. A. Zawodzinski, J. Electrochem. Soc. 171 126504 (2024).

[2] S. Choudhary, K. Marusak, T. Eldred, and R. G. Kelly, J. Electrochem. Soc. 169, 111505 (2022).

[3] J Hou, R. Girod, N. Nianias, T.-H. Shen, J. Fan, and V. Tileli, J. Electrochem. Soc. 167, 110515, (2020).

[4] Z. Cui and W. Sheng, ACS Catal. 13, 2534–2541 (2023).

[5] M. Serrapede, G. L. Pesce, R. J. Ball, and G. Denuault, Anal. Chem. 86, 5758–5765 (2014).