Stop Fitting, Start Discriminating: From EIS to MIDA

Mattia Pierpaoli1

1Gdańsk University of Technology, Narutowicza Street 11/12, 80-233 Gdańsk Poland

mattia.pierpaoli@pg.edu.pl

Electrochemical impedance spectroscopy (EIS) is one of the most powerful label-free techniques for probing interfacial processes in biosensing. Yet, its routine application remains constrained by a fundamental bottleneck: fitting experimental spectra to equivalent electrical circuit (EEC) models — a step that is operator-dependent and reductive, collapsing rich multifrequency information into a handful of parameters with often ambiguous physical meaning.

Multiparametric Impedance Discriminant Analysis (MIDA) offers a fundamentally different approach. Rather than fitting, MIDA treats the full impedance spectrum — across all measured frequencies and polarization potentials — as a high-dimensional fingerprint of the electrode interface. By combining real-time impedance monitoring with singular value decomposition (SVD) and partial least squares discriminant analysis (PLS-DA), MIDA extracts statistically robust patterns directly from raw data, without recourse to any circuit model.

In biosensing, we demonstrated that MIDA enables direct analyte discrimination and quantitative concentration prediction from raw impedance data, bypassing EEC fitting entirely. On an aptamer-functionalized Au nanocube biosensor, we detected uropathogenic Escherichia coli in real human urine at ~11 CFU/mL, with >80% sensitivity and accuracy, also identifying optimal polarization window where the most discrimination between control and test sample occurs [1]. Applied to semitransparent TiO₂ nanotube electrodes decorated with gold nanostructures supporting simultaneous optical and electrochemical transduction, MIDA resolved the distinct impedimetric signatures associated with biorecognition events from those arising from the nanostructured scaffold itself [2]. In this presentation, we will overview the results achieved so far and discuss the future directions that this approach opens.

References

[1] Koterwa, Adrian, et al. "Discriminating macromolecular interactions based on an impedimetric fingerprint supported by multivariate data analysis for rapid and label-free Escherichia coli recognition in human urine." Biosensors and Bioelectronics 238 (2023): 115561.

[2] Grochowska, Katarzyna, et al. "Nanostructured Titania-Gold biosensor platforms for dual-mode optical and electrochemical biomolecular recognition." Applied Materials Today 45 (2025): 102825.

Acknowledgement: M.P. acknowledges the supported by the National Science Centre (Republic of Poland) under Project 2024/54/E/ST8/00321.